| GE | GON# | (GE provides) |  |  |  | DUE DATE: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | PRODUCT | (GE provides) |  |  |  |  |  |  |  |  |  |
| COMPLETED BY CUSTOMER | Please complete this Pre-Installation Checklist and email it back prior to the Expected Delivery Date |  |  |  |  |  |  |  |  |  |  |
|  | FACILITY NAME |  |  |  |  |  |  |  |  |  |  |
|  | PHYSICAL ADDRESS |  |  |  |  |  |  |  |  |  |  |
|  | CUSTOMER CONTACTS | Name |  |  |  |  | Phone |  |  | Email |  |
|  | Director/Lead Tech |  |  |  |  |  |  |  |  |  |  |
|  | Network Security |  |  |  |  |  |  |  |  |  |  |
|  | PACS Admin |  |  |  |  |  |  |  |  |  |  |
|  | Comments: |  |  |  |  |  |  |  |  |  |  |
|  | INSITE - REMOTE CONNECTIVITY REQUIRED |  |  |  |  |  |  |  |  |  |  |
|  | Depending on product family and software revision, GE systems can be connected to the GE Back Office/Online Center for remote diagnostic, system health monitoring and to facilitate troubleshooting. To enable InSite remote service, please select ONE of the below options and provide the requested information: |  |  |  |  |  |  |  |  |  |  |
|  | ☐ 1. TLS Internet Access TCP Port 443* - DNS Resolution (Preferred – Please provide DNS in Network Info) |  |  |  |  |  |  |  |  |  |  |
|  | ☐ 2. TLS Internet Access TCP Port 443* - Customer Provided Proxy |  |  |  |  |  |  |  |  |  |  |
|  | Proxy IP Port Username Password |  |  |  |  |  |  |  |  |  |  |
|  | *For options 1 & 2, if firewall rules or exemptions are required for successful connectivity, add the following URLs to allow outbound TLS communication: https://insite.gehealthcare.com https://gehealthcare.flexnetoperations.com/flexnet/deviceservices as1-insite.gehealthcare.com https://download.flexnetoperations.com as2-insite.gehealthcare.com https://gehealthcare-ns.flexnetoperations.com:443 ☐ 3. GE Site-to-Site VPN (Requires Static IPs) ☐ 4. Opt-Out of Remote Connectivity Reason |  |  |  |  |  |  |  |  |  |  |
|  | NETWORKING – LOCAL CONNECTIVITY * REQUIRED |  |  |  |  |  |  |  |  |  |  |
|  | IP INFO |  | IP Address* | Netmask * | Gateway * |  |  | AE Title * | Port# * |  | Room Name (Applicable for Dosewatch) |
|  | NM System |  |  |  |  |  |  |  | 4006 |  |  |
|  | CT System (if NM/CT Hybrid) |  |  |  |  |  |  |  |  |  |  |
|  | Xeleris Workstation (if included) |  |  |  |  |  |  |  |  |  |  |
|  | DNS Server 1 * |  |  |  |  |  |  |  |  |  |  |
|  | DNS Server 2 * |  |  |  |  |  |  |  |  |  |  |
|  | NTP(network time protocol server)-OPTIONAL |  |  |  |  |  |  |  |  |  |  |
|  | PACS and HIS/RIS |  |  |  |  |  |  |  |  |  |  |
|  | PACS HIS/RIS INFO |  | IP Address* | AE Title* | Port#* |  |  | Notes |  |  |  |
|  | PACS Storage 1 |  |  |  |  |  |  |  |  |  |  |
|  | PACS Query/Retrieve |  |  |  |  |  |  | Please ensure permissions are set |  |  |  |
|  | PACS Storage 2 |  |  |  |  |  |  |  |  |  |  |
|  | HIS/RIS/DICOM WL |  |  |  |  |  |  | Please ensure permissions are set |  |  |  |
|  | OTHER |  |  |  |  |  |  |  |  |  |  |